## Slide 1
Building 439, room 513
N2 tank: filling only by authorized colleagues, level indicator outside
combi: check temperature, in case of alarm, the content must be moved to another cooling device, e.g. in 021

## Slide 2
5. floor, corridor, close to room 512
-20°C freezer: check temperature, in case of alarm, the content must be moved to another cooling device, e.g. in 021

## Slide 3
Room 511
4°C fridge: no display for temperature: open the fridge and feel if the cooling works, in case of alarm, the content must be moved to another cooling device

## Slide 4
Room 510
Freezer: check temperature
Fridge: check temperature
Fridge: no display for temperature: open the fridge and feel if the cooling works
Combi: check temperature
For all: in case of alarm, the content must be moved to another cooling device, e.g. in 021
1
2
3
4
Washer: wird ausgeschaltet

## Slide 5
Room 509
Fridge: no display for temperature: open the fridge and feel if the cooling works
Freezer: check temperature
Fridge: check temperature
For all: in case of alarm, the content must be moved to another cooling device, e.g. in 021
1
2
3

## Slide 6
Room 508
N2 tank: filling only by authorized colleagues
To check the filling level, the tank has to be opened and the styrofoam has to be dipped in, only by authorized colleagues

## Slide 7
Room 447
Check temperature on display
Freezer -20°C
Combi 4°C/-20°C
and fridge 4°C
This fridge 4°C is under table in center
2 Fridge
Check if still runining

## Slide 8
Floor 4th floor (near main entrance)
Check if
still running
Fridge 4°C
Check
temperature
Freezer -80 °C
In case of alarm, the content must be moved to another cooling device, e.g. in 021

## Slide 9
Room 416 (gel room)
Check
temperature
Freezer -20 °C
For all: in case of alarm, the content must be moved to another cooling device, e.g. in 021

## Slide 10
Cellar (end of corridor left from entrance)
Check
temperature
Freezer -80 °C

## Slide 11
Floor 4th floor (near main entrance)
Check if
still running
Fridge 4°C

## Slide 12
Room 415 (cell culture)
Fridge 4°C(under table with microscope)
Check if still running
Check
temperature
2 Freezer -20 °C
Combi 4°C/-20°C
Check if still running
For all: in case of alarm, the content must be moved to another cooling device, e.g. in 021

## Slide 13
Basement, room 021
-80° freezer: check temperature
4°C cooling room: check temperature
-20° freezers: both are turned on 1. empty, serves as a reserve
2. Half filled
1
2

## Slide 14
Basement, room 020
New fridges for reserve