Checklist for Inspection of buildings:

Building 341

* Go through the corridor and in every lab. Please check all **4°C, -20°C and -80°C** devices if they are still working.
* In case of technical problems, you will find on each device information about the allocation of the Group, cell phone numbers, position of important material and potential free space in order to put other stuff in, in case of power failure.
* If you are also responsible for the **liquid nitrogen**, please fill the tanks according to your duty
* Open the **water-tap of the cold and warm water** and allow the water to flow for 1 minute. Please do so as well especially in the toilets. Please flush the toilets once.
* Please check if all devices are **switched off**, close the lab doors and switch off the lights. Exceptions are listed in the PPT

See additional documents:

* PPT EZRC\_ScreeningCenter\_NGS Documentation\_341